## Slide 1: Part 1: Location

## Slide 2
Rain data from Culzean
Solar data from Auchincruvie

## Slide 3: Part 2: Interpreting Data

## Slide 4
Daily irradiance averaged monthly
Distribution plotted for each month in the 16 years in the data

## Slide 5
Daily rainfall averaged monthly
Distribution plotted for each month in the 18 years of data

## Slide 6: Part 3: Solar Power
For Auchincruive 2005-2020

## Slide 7: Average Daily Solar Irradiance (By Month)

## Slide 8: Battery Size to Maintain Power Year Round

## Slide 9: Battery and Solar Panel Cost Optimisation
Cost optimised with of solar panels (and 33kWh battery)

## Slide 10: Stored Energy With Time
For a panel area of a battery is never fully depleted
Excess energy can be sold back to the grid
The initial investment is ~£47000

## Slide 11: Part 4: Water
For Culzean 2000-2017

## Slide 12: Average Daily Rainfall (By Month)

## Slide 13: Storage Volume to Maintain Water Supply
Volume reduction significantly slow for area

## Slide 14: Stored Water With Time
A volume of and collection area of can withstand a once-in-10-year low rainfall month
The water tank has a cost of ~£39300

## Slide 15: Part 5: Conclusions
Possible? – Yes (with some key assumptions)
Expensive? – Yes
Land intensive? – Moderate
Investment = £86300
Assumes:
Rainwater never spoils once collected
15% of solar irradiance is always collected
Water and energy use is constant every day of the year
There is never a month with:
  Less rain than July 2010
  Less solar irradiance than December 2006

## Slide 16: Bonus: What About Wind?
For Prestwick 2012-2020

## Slide 17
Daily wind speed averaged monthly
Distribution plotted for each month in the 8 years of data
More consistent than solar irradiance

## Slide 18: Average Daily Windspeed

## Slide 19: Average Daily Power Production
For a turbine:
Rated for 2kWh
With a coefficient of performance of 0.3
Blade length of 3.2m
Minimum wind speed of 2.5m/s
And maximum production at 15m/s

## Slide 20: Stored Energy With Time (Wind Only)
A battery of 14kWh is sufficient for the period
Gradual decrease due to low wind days and low turbine production
Can be supplemented with a few solar panels

## Slide 21: Stored Energy With Time (Wind and Solar)
2kWh rated turbine
8 of solar panels
2.5kWh battery
Total investment of ~£21860 (47% of the cost of just solar power)